3 Bottle Ideal Warmer

A medium capacity appliance for keeping your gels and lotions at just above body temperature for utmost patient comfort.

Features:

-- Stainless Steel Case
-- White Powdercoat Finish
-- Adjustable Temperature Control
-- Maximum Temperature Limit of 122°F
-- Industrial 125 watt Thermal Coil
-- Operates for pennies a day
-- Lighted On/Off Power Switch
-- Six Foot Hospital-Grade Power Cord
-- Includes Empty Squeeze Bottle
-- "Thermal Sleeve" isolates electrical components
-- Also available in Polished Stainless (EBW3)
-- UL Listing 44FU - includes Canada
-- Includes Automatic Safety Cutoff
-- Non-disposable design. All components replaceable
-- Keyhole slots for wall mounting built-in
-- Two year warranty, parts and labor

Specifications:
• GW308 for 2" dia. bottles
• GW316 for 2.5" dia. bottles
• 6" W x 11" D x 5" H
• 5 lbs.
• Parcel shipment.
• 120 Volt, 42 watts, 50/60hz., UL Listed
• 35 minute warm-up from room temperature